## DETAIL
ITEM # | REF. SHEET | DETAIL | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | UNIT MATERIAL COST | ITEM COST | TRADE COST
Estimate of Materials and Cost of Construction
|  |  | Date: | 2021-06-01 | [6 empty] | Amount
|  |  | Project: | 5230 West Lake Blvd, Homewood CA, 96141 | [6 empty] | 1904641.3
|  |  | Project Location: | [7 empty] | 476160.325
2380801.625
ITEM # | REF. SHEET | DETAIL | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | UNIT MATERIAL COST | ITEM COST | TRADE COST
|  |  | DIV-01 | GENERAL | [7 empty] | 10000
1 |  |  |  | Permit | 1 | 0% | 1 | LS |  |  | 0
2 |  |  |  | Supervision | 1 | 0% | 1 | LS |  |  | 0
3 |  |  |  | Final Cleanup | 1 | 0% | 1 | LS |  |  | 0
4 |  |  |  | Mobilization Cost | 1 | 0% | 1 | LS |  |  | 0
5 |  |  |  | Project Overheads | 1 | 0% | 1 | LS |  |  | 0
6 |  |  |  | Bonds | 1 | 0% | 1 | LS |  |  | 0
7 |  |  |  | Fees (Architect & Engineer) | 1 | 0% | 1 | LS |  |  | 0
8 |  |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS |  |  | 0
9 |  |  |  | Scaffolding | 5000 | 0% | 5000 | SF | 1 | 1 | 10000
|  |  | DIV-01 | SITE WORK/ EXISTING CONDITIONS | [7 empty] | 171579
| S-01 to S-06 | S-07 S-08 S-09 |  | Demolition
10 |  |  |  | Existing House to be Demolished Completely | 835 | 5% | 877 | SF | 3 |  | 2631
11 |  |  |  | Existing Deck/Stairs to be Demolished | 364 | 5% | 383 | SF | 3 |  | 1149
12 |  |  |  | Existing Gravel Driveway & Walkways to be Demolished Completely | 5310 | 5% | 5576 | SF | 3 |  | 16728
13 |  |  |  | Existing Detached Garage to be Demolished Completely | 244 | 5% | 257 | SF | 3 |  | 771
14 |  |  |  | Remove Trees/Shrubs | 39 | 5% | 41 | EA | 100 |  | 4100
15 |  |  |  | Grade & Prepare Site for New Work (Debris & Vegetation Removal) | 2299 | 0% | 2299 | SF | 2 |  | 4598
16 |  |  |  | Existing Wood Fence to be Removed As Required (Assumed) | 96 | 5% | 101 | LF | 10 |  | 1010
17 |  |  |  | Offsite Asphalt Driveway/Gravel Drive Way to be Removed | 578 | 5% | 607 | SF | 12 |  | 7284
18 |  |  |  | Remove & Restore To Native Vegetation After Construction | 1032 | 5% | 1084 | SF | 2 |  | 2168
|  |  |  | Site work | [6 empty] | 0
19 |  |  |  | New Driveway Apron - 3" Asphalt Concrete - 6" Class II Aggregate Base - 90% Compacted Soil | 434 | 5% | 456 | SF | 5 | 7 | 5472
20 |  |  |  | Concrete Driveway W/ Snow Melt System | 1352 | 5% | 1420 | SF | 7 | 13 | 28400
21 |  |  |  | Metal Fence - 3x3 Metal Post (9 EA) - 3/4x2 Metal Pickets | 48 | 5% | 51 | LF | 30 | 15 | 2295
22 |  |  |  | Fire Department Access Key Box | 1 | 0% | 1 | EA | 80 | 120 | 200
23 |  |  |  | 16' Wide Auto Court Gate - 1" Dia Stainless Steel Vertical Rods (8 EA) - 3/4x2 Horizontal Bars 7'-2" Long (20 EA) | 1 | 0% | 1 | EA | 800 | 2200 | 3000
24 |  |  |  | 39"X18" Joint Utility Trench (58 LF) | 10.4722 | 5% | 11 | CY | 15 | 20 | 385
25 |  |  |  | Stone Steps | 25 | 5% | 27 | SF | 8 | 11 | 513
26 |  |  |  | Orange Safety Barrier Fence W/ Steel Posts @ 5' O.C. | 425 | 5% | 447 | LF | 10 | 20 | 13410
27 |  |  |  | Construction Staging Area Temporary Asphalt Concrete Paving | 1032 | 5% | 1084 | SF | 5 | 7 | 13008
28 |  |  |  | Key Pad Intercom | 1 | 0% | 1 | EA | 50 | 100 | 150
29 |  |  |  | 32 GAL Bear Proof Trash Bin | 1 | 0% | 1 | EA | 150 | 300 | 450
30 |  |  |  | Driveway Stone Wall (10 LF) | 48 | 5% | 51 | SF | 8 | 11 | 969
31 |  |  |  | 1'-2"X1'-4" Stone Pillar | 1 | 0% | 1 | EA | 100 | 200 | 300
32 |  |  |  | Stone Paving W/Snow Melt @ Patio & Terrace | 1022 | 5% | 1074 | SF | 8 | 11 | 20406
33 |  |  |  | Concrete Utility Pad | 48 | 5% | 51 | SF | 5 | 7 | 612
34 |  |  |  | Side Yard Wall (15 SF) | 22 | 5% | 24 | LF | 10 | 20 | 720
|  |  |  | BMP/Erosion Control |  |  | 0 |  |  |  | 0
35 |  |  |  | Tree Protection | 13 | 0% | 13 | EA | 40 | 60 | 1300
36 |  |  |  | Reinforced Silt Fence, WWM 6x6 W1.4/1.4, Geo Textile 351 or 2130 Silt Fence Geotextile, Studded Steel T-Post @ 6' O.C. | 106 | 5% | 112 | LF | 15 | 20 | 3920
37 |  |  |  | 12" Dia Fiber Roll Pegged @ 4' | 110 | 5% | 116 | LF | 2 | 3 | 580
38 |  |  |  | Concrete Washout | 1 | 0% | 1 | EA | 100 | 200 | 300
39 |  |  |  | 3' Dia Parking Barrier Boulder Keyed Into Soil | 6 | 0% | 6 | EA | 80 | 120 | 1200
40 |  |  |  | Construction Entrance | 1 | 5% | 2 | EA | 250 | 400 | 1300
41 |  |  |  | Drip Line Infiltration Trench AASHTO #57 Stone(3/4") | 2370 | 5% | 2489 | SF | 2 | 3 | 12445
|  |  |  | Grading |  |  | 0 |  |  |  | 0
42 |  |  |  | Cut | 447.037 | 5% | 470 | CY | 5 |  | 2350
43 |  |  |  | Fill | 132.2222 | 5% | 139 | CY | 2 | 3 | 695
|  |  |  | Excavation |  |  | 0 |  |  |  | 0
44 |  |  |  | Excavation | 306 | 5% | 322 | CY | 35 |  | 11270
45 |  |  |  | Backfill | 174 | 5% | 183 | CY | 15 | 15 | 5490
|  |  | DIV-03 | CONCRETE | [7 empty] | 178097
| S-01 to S-06 | S-07 S-08 S-09 |  | Foundation
|  |  |  | Pad Footing | [6 empty] | 0
46 |  |  |  | (24"x24"x10") Concrete Footing Reinf. W/ (3)-#4 E.W. (21 EA) | 2.59 | 5% | 3 | CY | 200 | 450 | 1950
47 |  |  |  | (30"x30"x12") Concrete Footing Reinf. W/ (4)-#4 E.W. (2 EA) | 0.47 | 5% | 1 | CY | 200 | 450 | 650
48 |  |  |  | (36"x36"x12") Concrete Footing Reinf. W/ (4)-#4 E.W. (7 EA) | 2.34 | 5% | 3 | CY | 200 | 450 | 1950
49 |  |  |  | (42"x42"x15") Concrete Footing Reinf. W/ (4)-#5 E.W. (3 EA) | 1.71 | 5% | 2 | CY | 200 | 450 | 1300
50 |  |  |  | (42"x42"x24") Concrete Footing Reinf. W/ (4)-#5 E.W. T&B (9 EA) | 8.17 | 5% | 9 | CY | 200 | 450 | 5850
51 |  |  |  | (48"x48"x15") Concrete Footing Reinf. W/ (4)-#5 E.W. (2 EA) | 1.49 | 5% | 2 | CY | 200 | 450 | 1300
52 |  |  |  | (60"x60"x18") Concrete Footing Reinf. W/ (5)-#5 E.W. (2 EA) | 2.78 | 5% | 3 | CY | 200 | 450 | 1950
53 |  |  |  | (66"x66"x30") Concrete Footing Reinf. W/ (5)-#5 E.W. T&B (4 EA) | 11.21 | 5% | 12 | CY | 200 | 450 | 7800
54 |  |  |  | (78"x78"x24") Concrete Footing Reinf. W/ (7)-#5 E.W. T&B (2 EA) | 6.26 | 5% | 7 | CY | 200 | 450 | 4550
|  |  |  | Continue Footings | [6 empty] | 0
55 |  |  |  | (24") Wide & (10") Thick Concrete Footing Reinf. W/ (3)-#4 Continue Rebar (405 LF) | 24.9 | 5% | 27 | CY | 200 | 450 | 17550
56 |  |  |  | (38") Wide & (10") Thick Concrete Footing Reinf. W/ (6)-#4 Continue Rebar (42 LF) | 4.08 | 5% | 5 | CY | 200 | 450 | 3250
|  |  |  | Column Pedestal | [6 empty] | 0
57 |  |  |  | (18"x18") Pedestal Reinf. W/ #4 Rebar W/ STD Hook & #3 Stirrups (2 EA) | 0.34 | 5% | 1 | CY | 200 | 450 | 650
|  |  |  | Foundation Walls | [6 empty] | 0
58 |  |  |  | (8") Thick Concrete Foundation Wall Reinf. W/ #4 Rebar's (33 LF, 0.83' H) | 0.68 | 5% | 1 | CY | 200 | 450 | 650
59 |  |  |  | (8") Thick Concrete Foundation Wall Reinf. W/ #4@12" O.C. Horiz. & #4@24" O.C. Verti. (124 LF, 2'-6" H) | 7.7 | 5% | 9 | CY | 200 | 450 | 5850
60 |  |  |  | (8") Thick Concrete Foundation Wall Reinf. W/ #4@12" O.C. Horiz. & #4@24" O.C. Verti. (23 LF, 3'-0" H) | 1.72 | 5% | 2 | CY | 200 | 450 | 1300
61 |  |  |  | (8") Thick Concrete Foundation Wall Reinf. W/ #4@12" O.C. Horiz. & #4@24" O.C. Verti. (50 LF, 3'-6" H) | 4.35 | 5% | 5 | CY | 200 | 450 | 3250
62 |  |  |  | (8") Thick Concrete Foundation Wall Reinf. W/ #4@12" O.C. Horiz. & #4@24" O.C. Verti. (300 LF, 4'-0" H) | 29.78 | 5% | 32 | CY | 200 | 450 | 20800
63 |  |  |  | (10") Thick Concrete Foundation Wall Reinf. W/ #4@18" O.C.E.F. Horiz. & #4@24" O.C.E.F. Verti. (42 LF, 4'-0" H) | 5.17 | 5% | 6 | CY | 200 | 450 | 3900
64 |  |  |  | (10") Thick Concrete Foundation Wall Reinf. W/ #4@18" O.C.E.F. Horiz. & #4@24" O.C.E.F. Verti. (54 LF, 5'-0" H) | 8.3 | 5% | 9 | CY | 200 | 450 | 5850
|  |  |  | Slab On Grade | [6 empty] | 0
65 |  |  |  | (4") Slab On Grade Reinf. W/ #3@15" O.C.E.W. O/ (4") Gravel (2662 SF) | 33.53 | 5% | 36 | CY | 190 | 440 | 22680
66 |  |  |  | (4") Dia. Perforated Pipe for Crawl Space Drain W/ Compacted Subgrade | 705 | 5% | 741 | LF | 15 | 30 | 33345
|  |  |  | First Floor | [6 empty] | 0
67 |  |  |  | 1-1/2" Lightweight Concrete | 2935 | 5% | 3082 | SF | 2 | 4 | 18492
|  |  |  | Second Floor | [6 empty] | 0
68 |  |  |  | 1-1/2" Lightweight Concrete | 2100 | 5% | 2205 | SF | 2 | 4 | 13230
|  |  | DIV-05 | METALS | [7 empty] | 390377
| A.1001 | A.1001 |  | Foundation & Upper Floor Framing
Columns
69 |  |  |  | HSS5x5x1/4 (17 EA, 241 LF) | 3765 | 5% | 3954 | LBS | 1.5 | 2.5 | 15816
70 |  |  |  | HSS6x3x3/16 (1 EA, 15 LF) | 209 | 5% | 220 | LBS | 1.5 | 2.5 | 880
71 |  |  |  | HSS6x6x1/4 (2 EA, 29 LF) | 552 | 5% | 580 | LBS | 1.5 | 2.5 | 2320
72 |  |  |  | HSS6x6x3/16 (2 EA, 29 LF) | 422 | 5% | 444 | LBS | 1.5 | 2.5 | 1776
73 |  |  |  | W18x71 (4 EA, 108 LF) | 7668 | 5% | 8052 | LBS | 1.5 | 2.5 | 32208
74 |  |  |  | W24x94 (2 EA, 54 LF) | 5076 | 5% | 5330 | LBS | 1.5 | 2.5 | 21320
|  |  |  | Beams |  |  | 0 |  |  |  | 0
75 |  |  |  | HSS8x3x3/8 (68 LF) | 1696 | 5% | 1781 | LBS | 1.5 | 2.5 | 7124
76 |  |  |  | W10x17 (80 LF) | 1360 | 5% | 1428 | LBS | 1.5 | 2.5 | 5712
77 |  |  |  | W12x26 (103 LF) | 2678 | 5% | 2812 | LBS | 1.5 | 2.5 | 11248
78 |  |  |  | W12x45 (60 LF) | 2700 | 5% | 2835 | LBS | 1.5 | 2.5 | 11340
79 |  |  |  | W14x43 (33 LF) | 1419 | 5% | 1490 | LBS | 1.5 | 2.5 | 5960
80 |  |  |  | W14x120 (107 LF) | 12840 | 5% | 13482 | LBS | 1.5 | 2.5 | 53928
81 |  |  |  | W16x26 (20 LF) | 520 | 5% | 546 | LBS | 1.5 | 2.5 | 2184
82 |  |  |  | W16x57 (33 LF) | 1881 | 5% | 1976 | LBS | 1.5 | 2.5 | 7904
|  |  |  | Misc. | [6 empty] | 0
83 |  |  |  | (14"x24"x1") Thick Base Plate W/ (6)-1" Dia. Threaded Rod | 4 | 0% | 4 | EA | 80 | 120 | 800
84 |  |  |  | (14"x30"x1") Thick Base Plate W/ (6)-1" Dia. Threaded Rod | 2 | 0% | 2 | EA | 80 | 120 | 400
85 |  |  |  | (3/4") Thick HSS Columns Base Plates | 22 | 5% | 24 | EA | 80 | 120 | 4800
86 |  |  |  | (4"x12"x1/4") Plate | 1 | 5% | 2 | EA | 80 | 120 | 400
87 |  |  |  | (8"x8"x3/4") Plates | 26 | 5% | 28 | EA | 80 | 120 | 5600
88 |  |  |  | (1/2") Thick Steel Plate W/ (6) (1/4") Dia. x (3") SDS Screws to Beam | 4 | 5% | 5 | EA | 80 | 120 | 1000
|  |  |  | Hardware's |  |  | 0 |  |  |  | 0
89 |  |  |  | EPC4Z | 2 | 5% | 3 | EA | 15 | 35 | 150
90 |  |  |  | HDU2 | 7 | 5% | 8 | EA | 15 | 35 | 400
91 |  |  |  | HDU4 | 3 | 5% | 4 | EA | 15 | 35 | 200
92 |  |  |  | HDU8 | 2 | 5% | 3 | EA | 15 | 35 | 150
93 |  |  |  | HDU11 | 8 | 5% | 9 | EA | 15 | 35 | 450
94 |  |  |  | HDU14 | 2 | 5% | 3 | EA | 15 | 35 | 150
95 |  |  |  | HUC414 | 2 | 5% | 3 | EA | 15 | 35 | 150
96 |  |  |  | HUC414-2 | 2 | 5% | 3 | EA | 15 | 35 | 150
97 |  |  |  | HUC610 | 4 | 5% | 5 | EA | 15 | 35 | 250
98 |  |  |  | HUC612 | 5 | 5% | 6 | EA | 15 | 35 | 300
99 |  |  |  | HUCQ612-SDS | 8 | 5% | 9 | EA | 15 | 35 | 450
100 |  |  |  | ITS2.37/14 | 134 | 5% | 141 | EA | 15 | 35 | 7050
101 |  |  |  | IUS2.37/14 | 24 | 5% | 26 | EA | 15 | 35 | 1300
102 |  |  |  | PC6Z | 21 | 5% | 23 | EA | 15 | 35 | 1150
103 |  |  |  | IUS 2.37/11.88 Hanger | 130 | 5% | 137 | EA | 10 | 25 | 4795
104 |  |  |  | MIU1.81/11.88 | 84 | 5% | 89 | EA | 10 | 25 | 3115
105 |  |  |  | PB66 | 21 | 5% | 23 | EA | 10 | 25 | 805
|  |  |  | Roof Framing |  |  | 0 |  |  |  | 0
|  |  |  | Columns |  |  | 0 |  |  |  | 0
106 |  |  |  | HSS5x5x1/4 (12 EA, 163 LF) | 2547 | 5% | 2675 | LBS | 1.5 | 2.5 | 10700
107 |  |  |  | HSS6x6x3/16 (2 EA, 20 LF) | 291 | 5% | 306 | LBS | 1.5 | 2.5 | 1224
|  |  |  | Beams |  |  | 0 |  |  |  | 0
108 |  |  |  | HSS10x3x3/8 (21 LF) | 631 | 5% | 663 | LBS | 1.5 | 2.5 | 2652
109 |  |  |  | HSS14x4x5/8 (32 LF) | 2171 | 5% | 2280 | LBS | 1.5 | 2.5 | 9120
110 |  |  |  | W12x14 (25 LF) | 350 | 5% | 368 | LBS | 1.5 | 2.5 | 1472
111 |  |  |  | W12x19 (62 LF) | 1178 | 5% | 1237 | LBS | 1.5 | 2.5 | 4948
112 |  |  |  | W12x26 (84 LF) | 2184 | 5% | 2294 | LBS | 1.5 | 2.5 | 9176
113 |  |  |  | W12x40 (29 LF) | 1160 | 5% | 1218 | LBS | 1.5 | 2.5 | 4872
114 |  |  |  | W12x53 (28 LF) | 1484 | 5% | 1559 | LBS | 1.5 | 2.5 | 6236
115 |  |  |  | W12x65 (28 LF) | 1820 | 5% | 1911 | LBS | 1.5 | 2.5 | 7644
116 |  |  |  | W14x22 (21 LF) | 462 | 5% | 486 | LBS | 1.5 | 2.5 | 1944
117 |  |  |  | W14x43 (38 LF) | 1634 | 5% | 1716 | LBS | 1.5 | 2.5 | 6864
118 |  |  |  | W14x90 (47 LF) | 4230 | 5% | 4442 | LBS | 1.5 | 2.5 | 17768
119 |  |  |  | W21x93 (34 LF) | 3162 | 5% | 3321 | LBS | 1.5 | 2.5 | 13284
120 |  |  |  | W24x62 (64 LF) | 3968 | 5% | 4167 | LBS | 1.5 | 2.5 | 16668
121 |  |  |  | W24x131 (88 LF) | 11528 | 5% | 12105 | LBS | 1.5 | 2.5 | 48420
|  |  |  | Misc. |  |  | 0 |  |  |  | 0
122 |  |  |  | (8"x8"x3/4") Plates | 8 | 5% | 9 | EA | 80 | 120 | 1800
|  |  |  | Hardware's |  |  | 0 |  |  |  | 0
123 |  |  |  | CC06 | 3 | 5% | 4 | EA | 20 | 30 | 200
124 |  |  |  | CC09 | 2 | 5% | 3 | EA | 20 | 30 | 150
125 |  |  |  | HUC612 | 5 | 5% | 6 | EA | 20 | 30 | 300
126 |  |  |  | MIU 1.81/14 Hanger | 304 | 5% | 320 | EA | 10 | 25 | 11200
|  |  | DIV-06 | WOOD PLASTIC & COMPOSITES | [7 empty] | 131043
Main Floor Framing
| S-03 S-04 S-05 | S-07 S-08 S-09 |  | Posts
127 |  |  |  | (6x6) Post (21 EA) | 63 | 5% | 67 | LF | 3 | 5 | 536
|  |  |  | Beams | [6 empty] | 0
128 |  |  |  | (6x10) Beam | 145 | 5% | 153 | LF | 5 | 7 | 1836
|  |  |  | Joists | [6 empty] | 0
129 |  |  |  | (11-7/8") TJI 360 Joists @ 16" O.C. (2222 LF) | 2999 | 5% | 3149 | SF | 1.5 | 2.5 | 12596
|  |  |  | Floor Sheathing | [6 empty] | 0
130 |  |  |  | (3/4") T&G APA Rated STRUD-1 Floor Sheathing | 2999 | 5% | 3149 | SF | 1.2 | 1.8 | 9447
|  |  |  | Misc. | [6 empty] | 0
131 |  |  |  | (1-3/4"x ) Strandgaurd PT LSL Ledge W/ (2) Rows (5/8") Dia Galvanized Strong Bolt 2 @ 32" O.C. | 286 | 5% | 301 | LF | 1 | 2 | 903
132 |  |  |  | TJI Joists Blocking | 101 | 5% | 107 | LF | 0.9 | 1.1 | 214
|  |  |  | Upper Floor Framing | [6 empty] | 0
|  |  |  | Posts, King & Full Height Studs | [6 empty] | 0
133 |  |  |  | (4x6) Post (6 EA) | 85 | 5% | 90 | LF | 2 | 4 | 540
134 |  |  |  | (6x6) Post (26 EA) | 255 | 5% | 268 | LF | 3 | 5 | 2144
135 |  |  |  | (4x10) Post (2 EA) | 29 | 5% | 31 | LF | 4 | 6 | 310
136 |  |  |  | (5-1/4x9-1/4) PSL (1 EA) | 15 | 5% | 16 | LF | 5 | 8 | 208
137 |  |  |  | (5-1/4x5-1/4) PSL (1 EA) | 15 | 5% | 16 | LF | 4 | 7 | 176
138 |  |  |  | (2x6) Full Height Studs (42 EA) | 595 | 5% | 625 | LF | 1 | 2 | 1875
139 |  |  |  | (2x6) King Studs (44 EA) | 624 | 5% | 656 | LF | 1 | 2 | 1968
140 |  |  |  | (4x6) King Studs (6 EA) | 85 | 5% | 90 | LF | 2 | 4 | 540
|  |  |  | Headers & Beams | [6 empty] | 0
141 |  |  |  | (6x8) Header | 32 | 5% | 34 | LF | 4 | 6 | 340
142 |  |  |  | (6x10) Header | 24 | 5% | 26 | LF | 5 | 7 | 312
143 |  |  |  | (6x12) Header | 13 | 5% | 14 | LF | 6 | 8 | 196
144 |  |  |  | (3-1/2"x11-7/8") LVL | 25 | 5% | 27 | LF | 5 | 8 | 351
145 |  |  |  | (3-1/2"x14") LVL | 43 | 5% | 46 | LF | 6 | 11 | 782
146 |  |  |  | (7"x14") PSL | 10 | 5% | 11 | LF | 7 | 14 | 231
147 |  |  |  | (3-1/2"x14") PSL | 11 | 5% | 12 | LF | 6 | 11 | 204
148 |  |  |  | (5-1/4"x9-1/2") PSL | 23 | 5% | 25 | LF | 5 | 8 | 325
149 |  |  |  | (5-1/4"x11-7/8") PSL | 42 | 5% | 45 | LF | 6 | 10 | 720
150 |  |  |  | (5-1/4"x14") PSL | 90 | 5% | 95 | LF | 8 | 11 | 1805
151 |  |  |  | (5-1/4"x18") PSL | 46 | 5% | 49 | LF | 9 | 14 | 1127
|  |  |  | Joists | [6 empty] | 0
152 |  |  |  | (14") TJI 360 Joists @ 16" O.C. (1693 LF) | 2223 | 5% | 2335 | SF | 1.5 | 2.5 | 9340
153 |  |  |  | (1-3/4"x14") LVL @ 16" O.C. (274 LF) | 356 | 5% | 374 | SF | 1.5 | 2.5 | 1496
154 |  |  |  | (6x10) Alaska Cedar#2 @ 16" O.C. (465 LF) | 648 | 5% | 681 | SF | 1.5 | 2.5 | 2724
|  |  |  | Sheathing | [6 empty] | 0
155 |  |  |  | (3/4") T&G APA Rated STRUD-1 Floor Sheathing | 2223 | 5% | 2335 | SF | 1.2 | 1.8 | 7005
156 |  |  |  | (5/8") APA Rated 40/20 Low Roof Sheathing | 356 | 5% | 374 | SF | 1.2 | 1.8 | 1122
|  |  |  | Misc. | [6 empty] | 0
157 |  |  |  | (1-3/4") LSL RIM Joist/ Ledger | 390 | 5% | 410 | LF | 2 | 3 | 2050
158 |  |  |  | (1-1/2"x14") LVL Ledger W/ (2) (1/4") Dia. x (3-1/2") SDWS to Beam Pack-Out @ 16" O.C. | 98 | 5% | 103 | LF | 6 | 9 | 1545
159 |  |  |  | (1-3/4") LSL Nailer | 96 | 5% | 101 | LF | 1 | 2 | 303
160 |  |  |  | (2x ) Nailer Top & Bottom | 208 | 5% | 219 | LF | 1 | 2 | 657
|  |  |  | Roof Framing | [6 empty] | 0
|  |  |  | Posts, King & Full Height Studs | [6 empty] | 0
161 |  |  |  | (6x6) Post (10 EA) | 103 | 5% | 109 | LF | 3 | 5 | 872
162 |  |  |  | (4x8) Post (2 EA) | 21 | 5% | 23 | LF | 3 | 5 | 184
163 |  |  |  | (5-1/4"x9-1/4") PSL (1 EA) | 11 | 5% | 12 | LF | 6 | 8 | 168
164 |  |  |  | (2x6) Full Height Studs (12 EA) | 123 | 5% | 130 | LF | 1 | 2 | 390
165 |  |  |  | (2x6) King Studs (16 EA) | 164 | 5% | 173 | LF | 1 | 2 | 519
|  |  |  | Headers & Beams | [6 empty] | 0
166 |  |  |  | (6x8) Header | 7 | 5% | 8 | LF | 4 | 6 | 80
167 |  |  |  | (6x10) Header | 35 | 5% | 37 | LF | 5 | 7 | 444
168 |  |  |  | (6x12) Header | 32 | 5% | 34 | LF | 6 | 8 | 476
169 |  |  |  | (8-3/4"x16-1/2") GLB | 19 | 5% | 20 | LF | 8 | 16 | 480
170 |  |  |  | (1-3/4"x14") LVL | 84 | 5% | 89 | LF | 6 | 9 | 1335
171 |  |  |  | (3-1/2"x18") PSL | 63 | 5% | 67 | LF | 7 | 14 | 1407
|  |  |  | Roof Joists & Trusses | [6 empty] | 0
172 |  |  |  | (1-3/4"x14") LVL @ 16" O.C. (3108 LF) | 4098 | 5% | 4303 | SF | 1.5 | 2.5 | 17212
173 |  |  |  | (1-3/4"x14") LVL @ 16" O.C. (620 LF) | 781 | 5% | 821 | SF | 1.5 | 2.5 | 3284
174 |  |  |  | Roof Trusses @ 16" O.C. (877 LF) | 1183 | 5% | 1243 | SF | 2 | 4 | 7458
|  |  |  | Sheathing |  | 5% | 0 |  |  |  | 0
175 |  |  |  | (5/8") APA Rated 40/20 Low Roof Sheathing | 6378 | 5% | 6697 | SF | 1.2 | 1.8 | 20091
|  |  |  | Misc. | [6 empty] | 0
176 |  |  |  | (1-3/4") LSL Blocking | 65 | 5% | 69 | LF | 0.9 | 1.1 | 138
177 |  |  |  | (1-3/4") LVL Ledger W/ (3) (1/4") Dia. x (4-1/2") SDWS @ 16" O.C. | 190 | 5% | 200 | LF | 2 | 3 | 1000
178 |  |  |  | Shaped Wood Nailer Attached W/ (5/8") Dia Welded Studs @ 24" O.C. | 84 | 5% | 89 | LF | 0.9 | 1.1 | 178
179 |  |  |  | (2x6) Diagonal Bracing @ 32" O.C. | 23 | 5% | 25 | LF | 1 | 2 | 75
180 |  |  |  | Wood Nailer Top & Bottom | 394 | 5% | 414 | LF | 1 | 2 | 1242
181 |  |  |  | (1-3/4") LVL Blocking/ Ledger | 750 | 5% | 788 | LF | 0.9 | 1.1 | 1576
182 |  |  |  | (2x12) Blocking @ 24" O.C. | 24 | 5% | 26 | LF | 2 | 4 | 156
183 | S-03, S-05 & S-06 | A.2002 |  | (2x6) Blocking | 42 | 5% | 45 | LF | 1 | 2 | 135
184 |  |  |  | (6x8) Continue Support Attach W/ (5/8") Dia Welded Studs @ 24" O.C. | 105 | 5% | 111 | LF | 4 | 6 | 1110
185 |  |  |  | (3-1/2") LSL Blocking | 103 | 5% | 109 | LF | 2 | 3 | 545
|  |  |  | Stairs |  |  | 0 |  |  |  | 0
186 |  |  |  | Stairs Treads As - (3'-1") Long (12") Wide (3-1/4") Thick Walnut Tread W/ 24x6x1/2 Plate Mortise Underside of tread | 36 | 5% | 38 | EA | 40 | 80 | 4560
|  |  | DIV-07 | THERMAL & MOISTURE PROTECTION | [7 empty] | 101871.3
187 |  |  |  | 1-1/2" R11 Rigid Insulation @ Crawl Space Walls | 550 | 5% | 578 | SF | 0.7 | 1.3 | 1156
188 |  |  |  | 12 MIL Vapor Barrier @ Crawl Space | 3220 | 5% | 3381 | SF | 0.5 | 0.8 | 4395.3
189 |  |  |  | Grade D Building Paper | 3500 | 5% | 3675 | SF | 0.4 | 0.6 | 3675
190 |  |  |  | Fluid Applied Vapor Barrier | 3000 | 5% | 3150 | SF | 0.5 | 0.8 | 4095
|  |  |  | First Floor | [6 empty] | 0
191 |  |  |  | R21 Batt Insulation | 2940 | 5% | 3087 | SF | 0.7 | 1.3 | 6174
|  |  |  | Second Floor | [6 empty] | 0
192 |  |  |  | R21 3" Batt Insulation | 1930 | 5% | 2027 | SF | 0.7 | 1.3 | 4054
193 |  |  |  | Liquid Applied WP Membrane @ Deck | 363 | 5% | 382 | SF | 0.7 | 1.3 | 764
|  |  |  | Roofing | [6 empty] | 0
194 |  |  |  | Standing Seam Aluminum Roof Painted Dark Bronze | 6290 | 5% | 6605 | SF | 2.5 | 3.5 | 39630
195 |  |  |  | Roof Underlayment | 6290 | 5% | 6605 | SF | 0.4 | 0.6 | 6605
196 |  |  |  | R-38 Closed Cell Spray Foam Insulation | 4670 | 5% | 4904 | SF | 0.6 | 0.9 | 7356
197 |  |  |  | 1x6 T&G Wood Soffit | 1620 | 5% | 1701 | SF | 1.5 | 2.5 | 6804
198 |  |  |  | Denselement Sheet | 1620 | 5% | 1701 | SF | 1 | 2 | 5103
199 |  |  |  | Metal Drip Edge Flashing | 430 | 5% | 452 | LF | 2 | 3 | 2260
200 |  |  |  | 2x6 Fascia | 600 | 5% | 630 | LF | 1 | 2 | 1890
201 |  |  |  | 2x10 Fascia | 945 | 5% | 993 | LF | 2 | 3 | 4965
202 |  |  |  | Deck Sheet Meatal Flashing | 85 | 5% | 90 | LF | 2 | 3 | 450
203 |  |  |  | Ridge | 210 | 5% | 221 | LF | 2 | 3 | 1105
204 |  |  |  | Valley Flashing | 115 | 5% | 121 | LF | 2 | 3 | 605
205 |  |  |  | Skylight Flashing | 120 | 5% | 126 | LF | 2 | 3 | 630
206 |  |  |  | Flashing Around Fire Place Flue | 29 | 5% | 31 | LF | 2 | 3 | 155
|  |  | DIV-08 | OPENINGS | [7 empty] | 179640
DOORS
207 | A.1000 A.1001 | A.6001 |  | (6'-0"x10'-0") Temp Glass Entry Door With Frame & Security Hardware | 1 | 0% | 1 | EA | 500 | 1000 | 1500
208 |  |  |  | (11'-0"x9'-11-1/2") Sliding Glass Door & Frame With Security Hardware | 4 | 0% | 4 | EA | 800 | 1700 | 10000
209 |  |  |  | (32'-6"x9'-11-1/2") Left+Slide Pocket Glass Door & Frame With Security Hardware | 1 | 0% | 1 | EA | 1500 | 4000 | 5500
210 |  |  |  | (3'-0"x6'-8") Therma Tru Fiber Glass Door | 1 | 0% | 1 | EA | 300 | 700 | 1000
211 |  |  |  | (9'-0"x8'-0") Sectional Over Head Garage Door | 3 | 0% | 3 | EA | 500 | 1500 | 6000
212 |  |  |  | (3'-0"x9'-11-1/2") Inswing Door & Frame With Security Hardware | 1 | 0% | 1 | EA | 300 | 700 | 1000
213 |  |  |  | (20'-0"x9'-11-1/2") Left+Slide Pocket Glass Door & Frame With Security Hardware | 1 | 0% | 1 | EA | 1000 | 3000 | 4000
214 |  |  |  | (4'-0"x8'-0") Door W/ Frame & Barn Door Hardware | 4 | 0% | 4 | EA | 250 | 650 | 3600
215 |  |  |  | (2'-8"x8'-0") Door W/ Frame & Barn Door Hardware | 1 | 0% | 1 | EA | 250 | 550 | 800
216 |  |  |  | (5'-4"x8'-0") Door W/ Frame & Barn Door Hardware | 1 | 0% | 1 | EA | 250 | 650 | 900
217 |  |  |  | (3'-0"x8'-0") Door W/ Frame & Security, Self Closer & Label Hardware | 1 | 0% | 1 | EA | 250 | 550 | 800
218 |  |  |  | (2'-6"x8'-0") Door W/ Frame & Privacy Hardware | 5 | 0% | 5 | EA | 250 | 550 | 4000
219 |  |  |  | (2'-8"x8'-0") Door W/ Frame & Privacy Hardware | 3 | 0% | 3 | EA | 250 | 550 | 2400
220 |  |  |  | (18"x24") Crawl Space Access Hatch | 3 | 0% | 3 | EA | 150 | 200 | 1050
WINDOWS
221 | A.2000 A.2001 A.2002 | A.6001 |  | (5'-2"x9'-11-1/2") Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 600 | 2430 | 3030
222 |  |  |  | (3'-1"x9'-11-1/2") Fixed Window W/ Low E Insulated Temp Glass | 2 | 0% | 2 | EA | 370 | 1480 | 3700
223 |  |  |  | (10'-4"x9'-11-1/2") Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 1220 | 4880 | 6100
224 |  |  |  | (6'-3"x9'-11-1/2") Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 740 | 2940 | 3680
225 |  |  |  | (1'-8"x9'-11-1/2") Fixed Window W/ Low E Insulated Temp Glass | 4 | 0% | 4 | EA | 200 | 810 | 4040
226 |  |  |  | (7'-0"x9'-11-1/2") Fixed Window W/ Low E Insulated Temp Glass | 2 | 0% | 2 | EA | 830 | 3320 | 8300
227 |  |  |  | (4'-0"x9'-11-1/2") Fixed Window W/ Low E Insulated Temp Glass | 2 | 0% | 2 | EA | 480 | 1900 | 4760
228 |  |  |  | (9'-0"x8'-9") Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 950 | 3800 | 4750
229 |  |  |  | (14'-3"x8'-9") Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 1500 | 6000 | 7500
230 |  |  |  | (10'-4"x8'-9") Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 1090 | 4360 | 5450
231 |  |  |  | (4'-0"x3'-0") Awing Window W/ Low E Insulated Temp Glass | 8 | 0% | 8 | EA | 150 | 570 | 5760
232 |  |  |  | (3'-0"x4'-0") Casement Window W/ Low E Insulated Temp Glass | 2 | 0% | 2 | EA | 150 | 570 | 1440
233 |  |  |  | (4'-0"x8'-0") Casement Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 390 | 1530 | 1920
234 |  |  |  | (14'-3"x1'-4") H1 & (5'-11-1/2") H2 Varying Height Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 220 | 880 | 1100
235 |  |  |  | (6'-3"x7-10") H1 & (13'-1-3/8") H2 Varying Height Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 590 | 2360 | 2950
236 |  |  |  | (1'-8"x13'-5-7/8") H1 & (14'-10-1/4") H2 Varying Height Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 270 | 1080 | 1350
237 |  |  |  | (1'-8"x6'-3") H1 & (7'-7-5/8") H2 Varying Height Fixed Window W/ Low E Insulated Temp Glass | 3 | 0% | 3 | EA | 130 | 500 | 1890
238 |  |  |  | (11'-0"x14-3") H1 & (5'-10") H2 Varying Height Fixed Window W/ Low E Insulated Temp Glass | 2 | 0% | 2 | EA | 1880 | 7490 | 18740
239 |  |  |  | (7'-0"x6'-2") Fixed Window W/ Low E Insulated Temp Glass | 2 | 0% | 2 | EA | 510 | 2050 | 5120
240 |  |  |  | (4'-0"x8'-9") Fixed Window W/ Low E Insulated Temp Glass | 2 | 0% | 2 | EA | 420 | 1690 | 4220
241 |  |  |  | (32'-0"x8'-9") Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 3380 | 13520 | 16900
242 |  |  |  | (9'-5-3/4"x3'-0") Fixed Window W/ Low E Insulated Temp Glass | 1 | 0% | 1 | EA | 340 | 1350 | 1690
243 |  |  |  | (4'-8-1/2"x3'-0") Fixed Window W/ Low E Insulated Temp Glass | 2 | 0% | 2 | EA | 170 | 680 | 1700
244 |  |  |  | (20'-0"x7'-0") Tinted Glass Skylight | 1 | 0% | 1 | EA | 1680 | 6720 | 8400
245 |  |  |  | (30'-0"x7'-0") Tinted Glass Skylight | 1 | 0% | 1 | EA | 2520 | 10080 | 12600
|  |  | DIV-09 | FINISHES | [7 empty] | 360119
First Floor
Walls
| A.1006 A.1007 A.1008 |  |  | 2x6 Exterior Wall
246 |  |  |  | 2x6 Wood Studs @ 16" O.C. (135 EA, 1418LF) | 1869 | 5% | 1963 | SF | 1.2 | 1.8 | 5889
247 |  |  |  | R-21 Batt Insulation | 1869 | 5% | 1963 | SF | 0.6 | 0.9 | 2944.5
248 |  |  |  | 15/32 Plywood Sheathing | 1869 | 5% | 1963 | SF | 1.2 | 1.8 | 5889
249 |  |  |  | 5/8" Gypsum Board | 1869 | 5% | 1963 | SF | 0.8 | 1.2 | 3926
250 |  |  |  | Top & Bottom Plates | 534 | 5% | 561 | LF | 1.1 | 1.9 | 1683
251 |  |  |  | Sealant | 356 | 5% | 374 | LF | 0.9 | 1.1 | 748
LVL Studs Exterior Wall
252 |  |  |  | 1-3/4x9-1/4 LVL Studs @ 16" O.C (34 EA, 360LF) | 452 | 5% | 475 | SF | 1.5 | 2.5 | 1900
253 |  |  |  | R-21 Batt Insulation | 452 | 5% | 475 | SF | 0.6 | 0.9 | 712.5
254 |  |  |  | 15/32 Plywood Sheathing | 452 | 5% | 475 | SF | 1.2 | 1.8 | 1425
255 |  |  |  | 5/8" Gypsum Board | 452 | 5% | 475 | SF | 0.8 | 1.2 | 950
256 |  |  |  | Top & Bottom Plates | 129 | 5% | 136 | LF | 1.5 | 2.5 | 544
257 |  |  |  | Sealant | 86 | 5% | 91 | LF | 0.9 | 1.1 | 182
2x6 Interior Wall
258 |  |  |  | 2x6 Wood Studs @ 16" O.C. (92 EA, 966LF) | 1260 | 5% | 1323 | SF | 1.2 | 1.8 | 3969
259 |  |  |  | R-21 Batt Insulation | 1260 | 5% | 1323 | SF | 0.6 | 0.9 | 1984.5
260 |  |  |  | 15/32 Plywood Sheathing | 515 | 5% | 541 | SF | 1.2 | 1.8 | 1623
261 |  |  |  | 5/8" Gypsum Board | 2005 | 5% | 2106 | SF | 0.8 | 1.2 | 4212
262 |  |  |  | Top & Bottom Plates | 360 | 5% | 378 | LF | 1.1 | 1.9 | 1134
263 |  |  |  | Sealant | 480 | 5% | 504 | LF | 0.9 | 1.1 | 1008
2x4 Interior Wall
264 |  |  |  | 2x4 Wood Studs @ 16" O.C. (95 EA, 1000LF) | 1302 | 5% | 1368 | SF | 0.8 | 1.2 | 2736
265 |  |  |  | 5/8" Gypsum Board | 2604 | 5% | 2735 | SF | 0.8 | 1.2 | 5470
266 |  |  |  | Top & Bottom Plates | 372 | 5% | 391 | LF | 0.8 | 1.2 | 782
267 |  |  |  | Sealant | 496 | 5% | 521 | LF | 0.9 | 1.1 | 1042
LVL Studs Interior Wall
268 |  |  |  | 1-3/4x7-1/4 LVL Studs @ 16" O.C (38 EA, 400LF) | 515 | 5% | 541 | SF | 1.5 | 2.5 | 2164
269 |  |  |  | R-21 Batt Insulation | 515 | 5% | 541 | SF | 0.6 | 0.9 | 811.5
270 |  |  |  | 15/32 Plywood Sheathing | 515 | 5% | 541 | SF | 1.2 | 1.8 | 1623
271 |  |  |  | 5/8" Gypsum Board | 515 | 5% | 541 | SF | 0.8 | 1.2 | 1082
272 |  |  |  | Top & Bottom Plates | 147 | 5% | 155 | LF | 1.5 | 2.5 | 620
273 |  |  |  | Sealant | 196 | 5% | 206 | LF | 0.9 | 1.1 | 412
Flooring
274 |  |  |  | Interior Floor Finish Assumed Stone Tiled Floor -3/4" Mortar | 2940 | 5% | 3087 | SF | 7 | 12 | 58653
275 |  |  |  | Wall Base | 540 | 5% | 567 | LF | 1.5 | 2.5 | 2268
Wall Finish
276 |  |  |  | Interior Wall Veneer | 430 | 5% | 452 | SF | 6 | 9 | 6780
277 |  |  |  | Bath Wall Tile ( @ Shower & 4' Bath) | 540 | 5% | 567 | SF | 7 | 8 | 8505
278 |  |  |  | Tile Backsplash | 66 | 5% | 70 | SF | 7 | 8 | 1050
279 |  |  |  | Wall Paint | 7450 | 5% | 7823 | SF | 0.6 | 0.9 | 11734.5
Ceiling
280 |  |  |  | 5/8" Gypsum Board Ceiling W/Resilient Channels | 2230 | 5% | 2342 | SF | 2.5 | 3.5 | 14052
281 |  |  |  | Ceiling Paint | 2230 | 5% | 2342 | SF | 0.8 | 1.2 | 4684
282 |  |  |  | Painted Pergola Beams | 550 | 5% | 578 | SF | 1.5 | 2.5 | 2312
Second Floor
Walls
2x6 Exterior Wall
283 |  |  |  | 2x6 Wood Studs @ 16" O.C. (148 EA, 1344LF) | 1771 | 5% | 1860 | SF | 1.2 | 1.8 | 5580
284 |  |  |  | R-21 Batt Insulation | 1771 | 5% | 1860 | SF | 0.6 | 0.9 | 2790
285 |  |  |  | 15/32 Plywood Sheathing | 1771 | 5% | 1860 | SF | 1.2 | 1.8 | 5580
286 |  |  |  | 5/8" Gypsum Board | 1771 | 5% | 1860 | SF | 0.8 | 1.2 | 3720
287 |  |  |  | Top & Bottom Plates | 585 | 5% | 615 | LF | 1.1 | 1.9 | 1845
288 |  |  |  | Sealant | 390 | 5% | 410 | LF | 0.9 | 1.1 | 820
LVL Studs Exterior Wall
289 |  |  |  | 1-3/4x9-1/4 LVL Studs @ 16" O.C (31 EA, 282LF) | 355 | 5% | 373 | SF | 1.5 | 2.5 | 1492
290 |  |  |  | R-21 Batt Insulation | 355 | 5% | 373 | SF | 0.6 | 0.9 | 559.5
291 |  |  |  | 15/32 Plywood Sheathing | 355 | 5% | 373 | SF | 1.2 | 1.8 | 1119
292 |  |  |  | 5/8" Gypsum Board | 355 | 5% | 373 | SF | 0.8 | 1.2 | 746
293 |  |  |  | Top & Bottom Plates | 117 | 5% | 123 | LF | 1.5 | 2.5 | 492
294 |  |  |  | Sealant | 78 | 5% | 82 | LF | 0.9 | 1.1 | 164
2x6 Interior Wall
295 |  |  |  | 2x6 Wood Studs @ 16" O.C. (77 EA, 700LF) | 908 | 5% | 954 | SF | 1.2 | 1.8 | 2862
296 |  |  |  | R-21 Batt Insulation | 908 | 5% | 954 | SF | 0.6 | 0.9 | 1431
297 |  |  |  | 15/32 Plywood Sheathing | 265 | 5% | 279 | SF | 1.2 | 1.8 | 837
298 |  |  |  | 5/8" Gypsum Board | 1551 | 5% | 1629 | SF | 0.8 | 1.2 | 3258
299 |  |  |  | Top & Bottom Plates | 300 | 5% | 315 | LF | 0.8 | 1.2 | 630
300 |  |  |  | Sealant | 400 | 5% | 420 | LF | 0.9 | 1.1 | 840
2x4 Interior Wall
301 |  |  |  | 2x4 Wood Studs @ 16" O.C. (95 EA, 1000LF) | 927 | 5% | 974 | SF | 0.8 | 1.2 | 1948
302 |  |  |  | 5/8" Gypsum Board | 1854 | 5% | 1947 | SF | 0.8 | 1.2 | 3894
303 |  |  |  | Top & Bottom Plates | 306 | 5% | 322 | LF | 0.8 | 1.2 | 644
304 |  |  |  | Sealant | 408 | 5% | 429 | LF | 0.9 | 1.1 | 858
LVL Studs Interior Wall
305 |  |  |  | 1-3/4x7-1/4 LVL Studs @ 16" O.C (38 EA, 400LF) | 436 | 5% | 458 | SF | 1.5 | 2.5 | 1832
306 |  |  |  | R-21 Batt Insulation | 436 | 5% | 458 | SF | 0.6 | 0.9 | 687
307 |  |  |  | 15/32 Plywood Sheathing | 436 | 5% | 458 | SF | 1.2 | 1.8 | 1374
308 |  |  |  | 5/8" Gypsum Board | 436 | 5% | 458 | SF | 0.8 | 1.2 | 916
309 |  |  |  | Top & Bottom Plates | 144 | 5% | 152 | LF | 1.5 | 2.5 | 608
310 |  |  |  | Sealant | 192 | 5% | 202 | LF | 0.9 | 1.1 | 404
Flooring
311 |  |  |  | Bath Stone Tiled Floor - 3/4" Mortar | 272 | 5% | 286 | SF | 7 | 12 | 5434
312 |  |  |  | Interior Floor Finish Assumed Hardwood Floor - Underlayment - 2 Layers 1/2" Plywood | 1830 | 5% | 1922 | SF | 3 | 5 | 15376
313 |  |  |  | Tile Deck Over 1" Mortar | 363 | 5% | 382 | SF | 2 | 3 | 1910
314 |  |  |  | Wall Base | 313 | 5% | 329 | LF | 1.5 | 2.5 | 1316
Wall Finish
315 |  |  |  | Bath Wall Tile ( @ Shower & 4' Bath) | 660 | 5% | 693 | LF | 7 | 8 | 10395
316 |  |  |  | Wall Paint | 6000 | 5% | 6300 | SF | 0.6 | 0.9 | 9450
Ceiling
317 |  |  |  | Wood Ceiling | 3250 | 5% | 3413 | SF | 3 | 5 | 27304
318 |  |  |  | 5/8" Gypsum Board Ceiling W/Resilient Channels | 700 | 5% | 735 | SF | 3 | 5 | 5880
319 |  |  |  | Ceiling Paint | 700 | 5% | 735 | SF | 0.8 | 1.2 | 1470
Exterior Finishes
320 |  |  |  | Stone Veneer (1-4" Max Thickness) - 1" Motor W/ Ties @ 24" - 3/4" 2 Coats Exterior Cement Plaster on Metal Lath | 1730 | 5% | 1817 | SF | 7 | 12 | 34523
321 |  |  |  | 1x6 Milled Wood Siding - 3/4" Pre-Drilled Rain screen Furring @ 16" O.C. | 2960 | 5% | 3108 | SF | 3 | 5 | 24864
322 |  |  |  | Stone to Siding Flashing | 46 | 5% | 49 | LF | 2 | 3 | 245
323 |  |  |  | Weep Screed Flashing/Base Flashing | 263 | 5% | 277 | LF | 2 | 3 | 1385
324 |  |  |  | 2x4 Wood Trim | 371 | 5% | 390 | LF | 0.8 | 1.2 | 780
325 |  |  |  | 2x6 Wood Trim | 162 | 5% | 171 | LF | 1.2 | 1.8 | 513
326 |  |  |  | 2x Trim | 180 | 5% | 189 | LF | 1.2 | 1.8 | 567
327 |  |  |  | 2x4 Window Sill | 65 | 5% | 69 | LF | 0.8 | 1.2 | 138
328 |  |  |  | 2x8 Wood Trim | 67 | 5% | 71 | LF | 1.5 | 2.5 | 284
329 |  |  |  | Fire Place Flue Screen & Metal Cap | 2 | 5% | 3 | EA | 300 | 650 | 2850
|  |  | DIV-10 | SPECIALITIES | [7 empty] | 97560
330 |  |  |  | 1'-6" Wide Bench | 5.5 | 0% | 6 | LF | 15 | 20 | 210
331 |  |  |  | Locker | 4 | 0% | 4 | EA | 150 | 300 | 1800
332 |  |  |  | Countertop | 347 | 5% | 365 | SF | 15 | 45 | 21900
333 |  |  |  | 1/2" Clear Temp Shower Glass W/ Door | 23 | 5% | 25 | LF | 50 | 100 | 3750
334 |  |  |  | Gas Fire Place W/ Shut Off Valve | 6 | 0% | 6 | EA | 500 | 3000 | 21000
335 |  |  |  | Base Cabinets W/Blocking | 68 | 5% | 72 | LF | 35 | 125 | 11520
336 |  |  |  | Upper Cabinets W/Blocking | 33 | 5% | 35 | LF | 35 | 95 | 4550
337 |  |  |  | Dresser With Millwork | 40 | 5% | 42 | LF | 30 | 70 | 4200
338 |  |  |  | 4'-0"x2'-3" Desk | 4 | 0% | 4 | EA | 100 | 150 | 1000
339 |  |  |  | Wine display Shelf | 4 | 0% | 4 | LF | 30 | 70 | 400
340 |  |  |  | Lavatory Closet | 33 | 0% | 33 | LF | 50 | 150 | 6600
341 |  |  |  | 3/4" Clear Temp And Laminated Glass Guard Rail & Alum. Rail Cap & Glazing Shoe | 61 | 5% | 65 | LF | 50 | 100 | 9750
342 |  |  |  | 1/2" Clear Temp And Laminated Glass Stairs Guard Rail & 1-1/2" Dia Stainless Steel Hand Rail | 40 | 5% | 42 | LF | 50 | 100 | 6300
343 |  |  |  | Deck Cable Guard Rail | 83 | 5% | 88 | LF | 10 | 20 | 2640
344 |  |  |  | Linen Cabinet | 3.25 | 5% | 4 | LF | 35 | 100 | 540
345 |  |  |  | Bath Accessories | 6 | 0% | 6 | EA | 30 | 70 | 600
346 |  |  |  | Terrace SPA (67 SF) | 1 | 0% | 1 | EA | 250 | 550 | 800
|  |  | DIV-11 | EQUIPMENTS | [7 empty] | 35300
347 | A.5000 A.5001 A.5002 |  |  | Washer | 1 | 0% | 1 | EA | 300 | 600 | 900
348 |  |  |  | Dryer | 1 | 0% | 1 | EA | 300 | 600 | 900
349 |  |  |  | Refrigerator | 1 | 0% | 1 | EA | 500 | 1800 | 2300
350 |  |  |  | Oven | 2 | 0% | 2 | EA | 500 | 1000 | 3000
351 |  |  |  | Cooking Range | 1 | 0% | 1 | EA | 500 | 1700 | 2200
352 |  |  |  | Dish Washer | 4 | 0% | 4 | EA | 500 | 1000 | 6000
353 |  |  |  | Room Refrigerator | 4 | 0% | 4 | EA | 500 | 1800 | 9200
354 |  |  |  | Under Counter Refrigerator | 2 | 0% | 2 | EA | 500 | 1800 | 4600
355 |  |  |  | Ice Maker | 1 | 0% | 1 | EA | 300 | 650 | 950
356 |  |  |  | Wine Cooler | 1 | 0% | 1 | EA | 500 | 1500 | 2000
357 |  |  |  | Trash Bin | 2 | 0% | 2 | EA | 150 | 300 | 900
358 |  |  |  | Stacked Washer & Dryer | 1 | 0% | 1 | EA | 500 | 1300 | 1800
359 |  |  |  | BBQ @ Terrace | 1 | 0% | 1 | EA | 200 | 350 | 550
|  |  | DIV-22 | PLUMBING | [7 empty] | 55920
First Floor
360 |  |  |  | Plumbing Pipes & Fittings | 2935 | 0% | 2935 | SF | 0.9 | 1.1 | 5870
|  |  |  | Second Floor |  |  | 0 |  |  |  | 0
361 |  |  |  | Plumbing Pipes & Fittings | 2100 | 0% | 2100 | SF | 0.9 | 1.1 | 4200
|  |  |  | Plumbing Fixtures |  |  | 0 |  |  |  | 0
362 |  |  |  | Lavatory | 11 | 0% | 11 | EA | 300 | 650 | 10450
363 |  |  |  | Water Closet | 6 | 0% | 6 | EA | 300 | 600 | 5400
364 |  |  |  | Boiler | 2 | 0% | 2 | EA | 500 | 2500 | 6000
365 |  |  |  | Water Heater | 2 | 0% | 2 | EA | 500 | 1200 | 3400
366 |  |  |  | Gas Meter | 1 | 0% | 1 | EA | 300 | 700 | 1000
367 |  |  |  | Water Meter | 1 | 0% | 1 | EA | 300 | 700 | 1000
368 |  |  |  | Kitchen Sink | 1 | 0% | 1 | EA | 300 | 800 | 1100
369 |  |  |  | Shower | 5 | 0% | 5 | EA | 500 | 2000 | 12500
370 |  |  |  | Shower Linear Drain | 22.5 | 5% | 24 | LF | 10 | 15 | 600
371 |  |  |  | 24" Sink | 3 | 0% | 3 | EA | 300 | 800 | 3300
372 |  |  |  | 30" Sink | 1 | 0% | 1 | EA | 300 | 800 | 1100
|  |  | DIV-23 | HEATING, VENTILATING & AIR-CONDITIONING | [7 empty] | 64488
373 |  |  |  | HVAC Area | 5708 | 0% | 5708 | SF | 2.5 | 3.5 | 34248
|  |  |  | First Floor | [6 empty] | 0
374 |  |  |  | Radian Tubing | 2940 | 0% | 2940 | SF | 2.5 | 3.5 | 17640
|  |  |  | Second Floor | [6 empty] | 0
375 |  |  |  | Radian Tubing | 2100 | 0% | 2100 | SF | 2.5 | 3.5 | 12600
|  |  | DIV-26 | ELECTRICAL | [7 empty] | 128647
First Floor
Power
376 |  |  |  | Duplex Outlet | 22 | 0% | 22 | EA | 80 | 120 | 4400
377 |  |  |  | Duplex Outlet GFCI | 37 | 0% | 37 | EA | 80 | 120 | 7400
378 |  |  |  | Duplex Outlet GFCI/WP | 9 | 0% | 9 | EA | 80 | 120 | 1800
379 |  |  |  | Duplex Outlet AFCI | 23 | 0% | 23 | EA | 80 | 120 | 4600
380 |  |  |  | Floor Outlet AFCI | 7 | 0% | 7 | EA | 80 | 120 | 1400
381 |  |  |  | Smoke Detector | 4 | 0% | 4 | EA | 100 | 150 | 1000
382 |  |  |  | Continuous Strip Outlet @ Upper Cabinet | 9 | 0% | 9 | LF | 10 | 10 | 180
383 |  |  |  | Air Switch for Disp | 3 | 0% | 3 | EA | 30 | 70 | 300
384 |  |  |  | TV Outlet | 3 | 0% | 3 | EA | 80 | 120 | 600
385 |  |  |  | 20' Bare #4 Grounding Electrode | 1 | 0% | 1 | EA | 50 | 70 | 120
386 |  |  |  | Garage Door Operator/ Motor | 3 | 0% | 3 | EA | 50 | 70 | 360
387 |  |  |  | Garage Door Opener/Controller | 1 | 0% | 1 | EA | 50 | 70 | 120
|  |  |  | Lighting | [6 empty] | 0
388 |  |  |  | Garage Light Manufacturer: Lightolier CAT#: XP1FVA232120s0-PF14 | 6 | 0% | 6 | EA | 130 | 220 | 2100
389 |  |  |  | 3" Square Recessed Fixed Downlight Manufacturer: Tech Lighting Element CAT#: E3S-FF-LH-830-4-D-1 | 7 | 0% | 7 | EA | 130 | 220 | 2450
390 |  |  |  | Wall Sconce Manufacturer: BEGA Cat #33816 | 8 | 0% | 8 | EA | 130 | 220 | 2800
391 |  |  |  | Step Light Manufacturer: Bega CAT#: 22272 W/Conc Sleeve | 6 | 0% | 6 | EA | 130 | 220 | 2100
392 |  |  |  | Pillar Light Manufacturer: BK Lighting CAT# S-EC-LED-e64-MFL-A9-MAC-12-11-B | 1 | 0% | 1 | EA | 130 | 220 | 350
393 |  |  |  | Under Cabinet Light Manufacturer: Visual Technologies CAT# ELL-2SL-3740-27-AL-OP2-WE1 | 44.46 | 0% | 45 | LF | 130 | 220 | 15750
394 |  |  |  | 2" Square Recessed Adjustable Downlight Manufacturer: Tech Lighting Element CAT#: E2S-L-LH-8-30-40-A-I | 40 | 0% | 40 | EA | 130 | 220 | 14000
395 |  |  |  | 2" Square Recessed Shower Downlight Manufacturer: Tech Lighting Element CAT#: E2S-L-LH-8-30-40-A-I | 2 | 0% | 2 | EA | 130 | 220 | 700
396 |  |  |  | Exhaust Fan Connection | 4 | 0% | 4 | EA | 100 | 150 | 1000
397 |  |  |  | Closet Light Manufacturer: Juno CAT# L643MB 12" Track W/ Accessories | 7.98 | 0% | 8 | LF | 15 | 15 | 240
398 |  |  |  | Continuous Bath Light Manufacturer: Brichwood Lighting CAT# JAK-LED-WG-400-TL-SLO-30-CR | 16.62 | 0% | 17 | LF | 15 | 15 | 510
399 |  |  |  | Crawl Space Light Manufacturer: Stonco CAT#: VCXL26HFLEB1 | 1 | 0% | 1 | EA | 130 | 220 | 350
400 |  |  |  | Single Pole Switch | 10 | 0% | 10 | EA | 30 | 70 | 1000
401 |  |  |  | Dimmer Switch | 2 | 0% | 2 | EA | 30 | 70 | 200
402 |  |  |  | Head Board Wall Sconce | 4 | 0% | 4 | EA | 150 | 200 | 1400
403 |  |  |  | Ceiling Mounted Fixture | 2 | 0% | 2 | EA | 150 | 200 | 700
404 |  |  |  | Conduits & Wiring | 4038 | 5% | 4240 | SF | 0.7 | 0.8 | 6360
|  |  |  | Second Floor | [6 empty] | 0
|  |  |  | Power | [6 empty] | 0
405 |  |  |  | Duplex Outlet | 4 | 0% | 4 | EA | 80 | 120 | 800
406 |  |  |  | Duplex Outlet GFCI | 10 | 0% | 10 | EA | 80 | 120 | 2000
407 |  |  |  | Duplex Outlet GFCI/WP | 3 | 0% | 3 | EA | 80 | 120 | 600
408 |  |  |  | Duplex Outlet AFCI | 35 | 0% | 35 | EA | 80 | 120 | 7000
409 |  |  |  | Floor Outlet AFCI | 4 | 0% | 4 | EA | 80 | 120 | 800
410 |  |  |  | TV Outlet | 3 | 0% | 3 | EA | 80 | 120 | 600
411 |  |  |  | Smoke Detector | 5 | 0% | 5 | EA | 100 | 150 | 1250
|  |  |  | Lighting | [6 empty] | 0
412 |  |  |  | 2" Square Recessed Adjustable Downlight Manufacturer: Tech Lighting Element CAT#: E2S-L-LH-8-30-40-A-I | 65 | 0% | 65 | EA | 130 | 220 | 22750
413 |  |  |  | Wall Sconce Manufacturer: BEGA Cat #33816 | 4 | 0% | 4 | EA | 130 | 220 | 1400
414 |  |  |  | 2" Square Recessed Shower Downlight Manufacturer: Tech Lighting Element CAT#: E2S-L-LH-8-30-40-A-I | 3 | 0% | 3 | EA | 130 | 220 | 1050
415 |  |  |  | Exhaust Fan Connection | 5 | 0% | 5 | EA | 130 | 220 | 1750
416 |  |  |  | Under Cabinet Light Manufacturer: Visual Technologies CAT# ELL-2SL-3740-27-AL-OP2-WE1 | 18.12 | 0% | 19 | LF | 15 | 15 | 570
417 |  |  |  | Single Pole Switch | 15 | 0% | 15 | EA | 30 | 70 | 1500
418 |  |  |  | Dimmer Switch | 6 | 0% | 6 | EA | 30 | 70 | 600
419 |  |  |  | Head Board Wall Sconce | 4 | 0% | 4 | EA | 150 | 200 | 1400
420 |  |  |  | 15" Dia Ceiling Light Manufacturer: WAC LIGHTING CAT#: FM-15RN-930-WT | 1 | 0% | 1 | EA | 150 | 200 | 350
421 |  |  |  | Pendent Light | 1 | 0% | 1 | EA | 150 | 200 | 350
422 |  |  |  | Track Light Manufacturer: Cooper Lighting | 80 | 0% | 80 | LF | 15 | 15 | 2400
423 |  |  |  | Continuous Bath Light Manufacturer: Brichwood Lighting CAT# JAK-LED-WG-400-TL-SLO-30-CR | 10.66 | 0% | 11 | LF | 15 | 15 | 330
424 |  |  |  | Closet Light Manufacturer: Juno CAT# L643MB 12" Track W/ Accessories | 8 | 0% | 8 | LF | 15 | 15 | 240
425 |  |  |  | Occupancy Sensor (Assumed) | 9 | 0% | 9 | EA | 100 | 150 | 2250
426 |  |  |  | Ceiling Mounted Fixture | 2 | 0% | 2 | EA | 100 | 150 | 500
427 |  |  |  | Conduits & Wiring | 2455 | 5% | 2578 | SF | 0.8 | 0.7 | 3867
SUB TOTAL | [7 empty] | Total Lab. Cost = |  | Total Mat. Cost = | 1904641.3 | 1904641.3
INSURANCE | [8 empty] | 0% |  | 0 | 0
OVERHEAD AND PROFIT | [8 empty] | 25% |  | 476160.325 | 476160.325
TOTAL BASE BID | [10 empty] | 2380801.625 | 2380801.625